## Title Page
OK
| Client Logo | Energy Balance Assessment Tool
Tool to estimate total energy consumption in the urban water cycle
Version Number:
|  | Last Update: | Last Update: | 2015-06-02 04:27
Important notice for all users:
This Energy Balance Assessment Tool (EBAT) has been designed to enable the user to estimate the amount of energy used and the associated resultant levels of CO2 (equivalent) produced; in the provision of drinking water to a domestic catchment and the disposal of domestic and industrial wastewater, including infiltrated rainwater, for the catchment size specified by the user. Copyright (C) [2015] [University of Bradford] This program is free software; you can redistribute it and/or modify it under the terms of the GNU General Public License (version 3) as published by the Free Software Foundation. This program is distributed in the hope that it will be useful, but WITHOUT ANY WARRANTY; without even the implied warranty of MERCHANTABILITY or FITNESS FOR A PARTICULAR PURPOSE. See the GNU General Public License for more details. You should have received a copy of the GNU General Public License along with this program; if not, see (http://www.gnu.org/licenses).

## User Instructions
OK
Sheet Explanation
This sheet explains how the EBAT calculator can be used. We strongly recommend that users digest this information before starting to use it.
EBAT = Energy Balance Assessment Tool
EBAT is designed to estimate total energy consumption in the urban water cycle
Introduction and Key
The toolkit is presented over a number of worksheets, colour-coded to denote their role, according to the following system:
|  | Underlying Data | Background data that the user should not need to adjust
|  | Main Sheet | The main input and output page
|  | Calculation | Background sheets in which the primary calculations are made
|  | Results | Sheets presenting the results of the calculations
|  | Information | Sheets providing other information (like these instructions)
|  | Grouping Sheet > | Grouping sheets, that enable tabs to be hidden when not required (by clicking on the buttons), aiding workbook navigation
An analogous colour-coding is also used for individual cells, as follows:
|  | Background_Data | Holds underlying data entered by the programmer
|  | Input | Holds data entered by the user
|  | DropMenu | Holds user-selected data from drop-down menu
|  | Linked Cell | Lifts data from other cells without any calculation beyond a lookup
|  | Calculation | Holds the calculations
|  | Output | Hold the various results information
|  | Explanatory Text | Explanatory Information
|  | Background | Holds background information
|  | Check Cell | Reports that no errors have been found
|  | Warning Text | Reports that errors have been found
Macros and Protection
The workbook contains macros so it would be good to enable their use, though it should also work adequately with them disabled
The macros aid navigation and visibility of sheets
The workbook and worksheet are protected so that users should only be able to adjust values in green cells (input and drop-menus)
Genergic User Instructions
This explains how to use the "Front Sheet"
At the top of the 'Front Sheet' there is a schematic diagram, showing the flows and reporting covered, and the naming/numbering convention followed
The diagram and the input and output sections that follow it can be expanded/collapsed using the buttons in the left margin, to ease navigation
Under the diagram, the "Control Parameters" section allows the user to choose from drop-menus:
the country of interest
The next four sections seek user input on Supply, Households, Industry and Treatment:
For most parameters, a default value is offered in the yellow cell
The user may choose to override the default by entering a value in the green cell beside
The value used by the tool is shown in the blue cell, and this will be either the user override or, otherwise, the default value
If the blue cell turns into bold red text highlighted in yellow, this warns that the entry is outside the expected limits (which are in columns J and K)
However, the results are still calculated, even if an input is outside expected limits
The key results (in terms of energy consumed and carbon emissions) are presented at the bottom of the 'Front Sheet'
These results are presented again in both numerical and graphical format in the 'Results Summary' tab
This enabels the user to compare the results for the different stages of the water cycle, with the results presented twice (with or without the results for heating of domestic hot water)
For information, the workbook briefly reverts to the Title Page whenever saved, so that it always opens on that sheet
If you have accurate data you would like EBAT to use, rather than the data entered by the programmers, then you can amend any of the figures in the 'Calculations', 'Country-Specific Data, or 'Backgraound Data tabs
In order to do this you will need to use the following password 8R4df0rd For information on the devlopment of EBAT contact: r.j.pheasant2@bradford.ac.uk or s.tait@sheffield.ac.uk. Please note ongoing technical support is NOT provided.
If you wish make changes to the background data, you may wish to protect the workbook again prior to circulating to others, so that you can retain control on behalf of your organisation
Specific Guidance on Equipment Performance
If equiptment energy usage is above or below that of an average catchment, then enter performance factors in rows 61-65, or update the energy intensity data in the 'Background Data' tab.
For example, enter 50% where equiptment is using half the energy of average equipment; or enter 150% where equipment is using 50% more than average equipment

## Front Sheet
OK
Schematic Diagram
1. Control Parameters
| Select country of interest | UK |  | n_Country
| 2. Supply | Default | User | Final | Units |  |  | Min | Max
| % of potable water leaked from the supply system prior to delivery | 33.33% |  | 33.33% | %
| Average depth from which groundwater is abstracted | 9 |  | 9 | m
| % of groundwater sourced | 40% |  | 40% | %
| % of energy used in pumping | 60% |  | 60% | %
| % of energy used in treatment | Calculated |  | 40% | %
| % of energy used in supply that is renewable and generated onsite | 0% |  | 0% | %
| 3. Households | Default | User | Final | Units |  |  | Min | Max
| Average temperature of water entering households | 12 |  | 12 | C | 0 |  | 1 | 60
| Average temperature of hot water leaving the tap in households | 52 |  | 52 | C | 0 |  | 10 | 90
| Volume of potable water produced (including all leakage) | 225 |  | 225 | L/person/day
| Number of inhabitants per household | 2.3 |  | 2.3 | persons/hh
| Proportion of water not returned to sewer | 7.5% |  | 7.5% |  |  |  | 0% | 10%
| Rainfall received by combined sewers (if present) | 0 |  | 0 | ml/person/day
| Volume of domestic wastewater discharged to sewer | Calculated |  | 319.125 | l/day/hh
| Average volume of Domestic Hot Water (DHW) consumed | 122 |  | 122 | l/day/hh
| Average domestic COD production | 120 |  | 120 | g/person/day
| Energy intensity for COD removal | Looked up |  | 1.1692 | kWh/kgCOD
| Number of households being serviced within the catchment |  |  | 0 | households
| 4. Industry | Default | User | Final | Units |  |  | Min | Max
| Average volume of industrial effluent discharged to sewer | 0 |  | 0 | m3/day
| Average industrial COD produced | 0 |  | 0 | kg/day
| 5. Treatment | Default | User | Final | Units |  |  | Min | Max
| COD discharge consent limit | 40 |  | 40 | mg/L
| % of energy used in pumping | 20% |  | 20% | %
| % of energy used in treatment | Calculated |  | 80% | %
| % of energy used in treatment that is renewable and generated onsite | 0% |  | 0% | %
| 6. Equipment Performance | Default | User | Final | Units |  |  | Min | Max
| Performance factor for pumping raw water | 100% |  | 100% | % |  |  | 50% | 150%
| Performance factor for pumping wastewater | 100% |  | 100% | % |  |  | 50% | 150%
| Performance factor for treating drinking water | 100% |  | 100% | % |  |  | 50% | 150%
| Performance factor for treating wastewater | 100% |  | 100% | % |  |  | 50% | 150%
| Performance factor for heating DHW | 100% |  | 100% | % |  |  | 50% | 150%
| 7. Results |  |  | Energy use | Units | CO2e emissions | Units
| Abstraction, treatment and pumping of potable water to households |  |  | 0 | GWh/yr | 0 | t CO2e/yr
| Abstraction, treatment and pumping of potable water lost through leakage |  |  | 0 | GWh/yr | 0 | t CO2e/yr
| Treatment and pumping of potable water, including water lost through leakage |  |  | 0 | GWh/yr | 0 | t CO2e/yr
| Heating Domestic Hot Water (DHW) |  |  | 0 | GWh/yr | 0 | t CO2e/yr
| Pumping of rainwater received by combined sewers |  |  | 0 | GWh/yr | 0 | t CO2e/yr
| Pumping of domestic wastewater |  |  | 0 | GWh/yr | 0 | t CO2e/yr
| COD removal from domestic wastewater to meet discharge consent |  |  | 0 | GWh/yr | 0 | t CO2e/yr
| Pumping of industrial wastewater |  |  | 0 | GWh/yr | 0 | t CO2e/yr
| COD removal from industrial effluent to meet discharge consent |  |  | 0 | GWh/yr | 0 | t CO2e/yr
| Reduced energy demands as a result of dilution of COD (if any) |  |  | 0 | GWh/yr | 0 | t CO2e/yr
| Pumping and treatment of all wastewater including rainwater |  |  | 0 | GWh/yr | 0 | t CO2e/yr
| The urban water cycle |  |  | 0 | GWh/yr | 0 | t CO2e/yr
| The urban water cycle minus DHW |  |  | 0 | GWh/yr | 0 | t CO2e/yr
| Per m3 of water as it passes through the urban water cycle, accounting for losses (minus DHW) |  |  | #DIV/0! | KWh | #DIV/0! | Kg CO2e
|  |  | Heating of DHW per m3 | 46.5111 | KWh | 8.558 | Kg CO2e
|  |  | Total per m3 | #DIV/0! | KWh | #DIV/0! | Kg CO2e
5. Treatment
4. Industry
Energy
Carbon
2. Supply
3. Household
Note on F68: Choose unit for reporting here
Note on H68: Choose unit for reporting here

## Results Summary
OK
Further Results
This sheet summarises the results for the whole water cycle and also the whole water cycle excluding heating of DHW
|  | Conversion factor for Natural Gas | 0.184 | kgCO2e/kWh
|  | Conversion factor for electricity | 0.52462 | kgCO2e/kWh
| All areas | Energy consumed | Units | % of Total | Carbon emitted | Energy | % of Total
| Heating Domestic Hot Water (DHW) | 0 | GWh/yr | #DIV/0! | 0 | t CO2e/yr | #DIV/0!
| Abstraction, treatment and pumping of potable water to households | 0 | GWh/yr | #DIV/0! | 0 | t CO2e/yr | #DIV/0!
| Abstraction, treatment and pumping of potable water lost through leakage | 0 | GWh/yr | #DIV/0! | 0 | t CO2e/yr | #DIV/0!
| Pumping of rainwater received by combined sewers | 0 | GWh/yr | #DIV/0! | 0 | t CO2e/yr | #DIV/0!
| Pumping of domestic wastewater | 0 | GWh/yr | #DIV/0! | 0 | t CO2e/yr | #DIV/0!
| COD removal from domestic wastewater to meet discharge consent | 0 | GWh/yr | #DIV/0! | 0 | t CO2e/yr | #DIV/0!
| Pumping of industrial wastewater | 0 | GWh/yr | #DIV/0! | 0 | t CO2e/yr | #DIV/0!
| COD removal from industrial effluent to meet discharge consent | 0 | GWh/yr | #DIV/0! | 0 | t CO2e/yr | #DIV/0!
| Total | 0 | GWh/yr |  | 0 | t CO2e/yr
| All areas excluding heating of DHW | Energy consumed | Units | % of Total | Carbon emitted | Energy | % of Total
| Abstraction, treatment and pumping of potable water to households | 0 | GWh/yr | #DIV/0! | 0 | t CO2e/yr | #DIV/0!
| Abstraction, treatment and pumping of potable water lost through leakage | 0 | GWh/yr | #DIV/0! | 0 | t CO2e/yr | #DIV/0!
| Pumping of rainwater received by combined sewers | 0 | GWh/yr | #DIV/0! | 0 | t CO2e/yr | #DIV/0!
| Pumping of domestic wastewater | 0 | GWh/yr | #DIV/0! | 0 | t CO2e/yr | #DIV/0!
| COD removal from domestic wastewater to meet discharge consent | 0 | GWh/yr | #DIV/0! | 0 | t CO2e/yr | #DIV/0!
| Pumping of industrial wastewater | 0 | GWh/yr | #DIV/0! | 0 | t CO2e/yr | #DIV/0!
| COD removal from industrial effluent to meet discharge consent | 0 | GWh/yr | #DIV/0! | 0 | t CO2e/yr | #DIV/0!
| Total | 0 | GWh/yr |  | 0 | t CO2e/yr
| Reduced energy demands as a result of dilution of COD (if any) | 0 | GWh/yr |  | 0 | t CO2e/yr
| All areas excluding heating of DHW, including effluent dilution | Energy consumed | Units | % of Total | Carbon emitted | Energy | % of Total
| Pumping of domestic wastewater | 0 | GWh/yr | #DIV/0! | 0 | t CO2e/yr | #DIV/0!
| COD removal from domestic wastewater to meet discharge consent | 0 | GWh/yr | #DIV/0! | 0 | t CO2e/yr | #DIV/0!
| Pumping of industrial wastewater | 0 | GWh/yr | #DIV/0! | 0 | t CO2e/yr | #DIV/0!
| Treatment of all waste water (reflecting any reduced energy demands due to dilution) | 0 | GWh/yr | #DIV/0! | 0 | t CO2e/yr | #DIV/0!
| Total | 0 | 0 |  | 0 | 0
| All areas including heating of DHW, including effluent dilution | Energy consumed | Units | % of Total | Carbon emitted | Energy | % of Total
| Heating Domestic Hot Water (DHW) | 0 | GWh/yr | #DIV/0! | 0 | t CO2e/yr | #DIV/0!
| Abstraction, treatment and pumping of potable water to households | 0 | GWh/yr | #DIV/0! | 0 | t CO2e/yr | #DIV/0!
| Abstraction, treatment and pumping of potable water lost through leakage | 0 | GWh/yr | #DIV/0! | 0 | t CO2e/yr | #DIV/0!
| Pumping of rainwater received by combined sewers | 0 | GWh/yr | #DIV/0! | 0 | t CO2e/yr | #DIV/0!
| Treatment of all waste water (reflecting any reduced energy demands due to dilution) | 0 | GWh/yr | #DIV/0! | 0 | t CO2e/yr | #DIV/0!
| Total | 0 |  |  | 0

## Background v (hidden)
OK
Background Info > | Low | FALSE
Show All
Hide All
GoTo Sheet
Calculations
Country-Specific Data
Background Data
Key, Version Control and Errors
Show All
Hide All
Go To

## Calculations (hidden)
OK | Sheet Explanation
This sheets brings in the necessary input and underlying data and performs the main calculations
The original cell shading colour are preserved in column H, in case they aid navigation
Data Input
| Firstly, the data inputs are copied across |  |  |  | …with the country-specific data for: | UK
| Parameter | Final Value | Units | Parameter | Cut | Units | Value
| Average temperature of water entering households | 12 | C | COD | 0 | kWh/kg | 1.1692
| Average temperature of hot water leaving the tap in households | 52 | C | WWTP for EU | mean | kWh/m3 | 0.504
| Volume of potable water produced (including all leakage) | 225 | L/person/day | 0 | Standard error derived from regression analysis | kWh/m3 | 0.03
| Number of inhabitants per household | 2.3 | persons/hh
| Proportion of water not returned to sewer | 7.5% |  | 0 | COD Elimination (if known) | kWh/kgeliminatedCOD | 0
|  |  |  | WWTP for EU | mean | kWh/m3 | 0.504
| Rainfall received by combined sewers (if present) | 0 | ml/person/day | 0 | Standard error derived from regression analysis | kWh/m3 | 0.03
| % of potable water leaked from the supply system prior to delivery | 33.33% |  | 0 | Pump WW within sewer | kWh/m3 | 0.126
| Volume of domestic wastewater discharged to sewer | 319.125 | l/day/hh | 0 | Total WW Pumping & Treatment (columns I + K) | kWh/m3 | 0.63
| Average volume of industrial effluent discharged to sewer | 0 | m3/day | 0 | 0 |  | 0
| Average industrial COD produced | 0 | kg/day | 0 | Pumping, distributing and treating drinking water (if known) | kWh/m3 | 0.59
| Average volume of Domestic Hot Water (DHW) consumed | 122 | l/day/hh | 0 | 0 |  | 0
| Average domestic COD production | 120 | g/person/day | 0 | pumping and distributing raw water | kWh/m3 | 0.354
| Energy intensity for COD removal | 1.1692 | kWh/kgCOD | 0 | Treating drinking water | kWh/m3 | 0.236
| COD discharge consent limit | 40 | mg/L | 0 | 0 |  | 0
| Average depth from which groundwater is abstracted | 9 | m | 0 | Pumping, distributing and treating drinking water (columns O + P) | kWh/m3 | 0.59
| % of groundwater sourced | 40%
| % of energy used in pumping drinking water | 60%
| % of energy used in treating drinking water | 40%
| Number of households being serviced within the catchment | 0
| % of energy used in supply that is renewable and generated onsite | 0%
| % of energy used in treatment that is renewable and generated onsite | 0%
| Performance factor for pumping raw water | 100%
| Performance factor for pumping wastewater | 100%
| Performance factor for treating drinking water | 100%
| Performance factor for treating wastewater | 100%
| Performance factor for heating DHW | 100%
Secondly, the underlying background data
| Conversion factor for Natural Gas | 0.184 | kgCO2e/kWh
| Conversion factor for electricity | 0.52462 | kgCO2e/kWh
| Days per year | 365
| Energy intensity for pumping ground-water | 0.004 | kWh/m3/m
| Energy intensity for pumping and distributing raw water | 0.35 | kWh/m3
| Energy intensity for treating drinking water | 0.24 | kWh/m3
| Energy intensity for pumping wastewater | 0.13 | kWh/m3
| Heat constant, Cp | 4186 | J/kg.C
| Calculations | The above numbers are manipulated in the calculations below
Volumes
| Parameter | Value | Units | Explanation
| Annual rainwater received by combined sewers | 0 | m3/year | Number of people per household x Litres/person/day received by combined sewer x number of households serviced x number of days in a year, the calculation result has been convertedfrom litres into m3.
| Mean volume of wastewater discharged to sewer | 319.125 | l/d/hh
| Number of households supplied | 0
| Annual volume of domestic wastewater discharged to sewer | 0 | m3/year | Mean volume of wastewater discharged to sewer per day, converted from litres into m3, x number of days per year x number of households serviced.
| Annual volume of industrial effluent | 0 | m3/year | Daily volume of industrial effluent discharged to sewer in m3 x number of days per year.
| Annual volume of domestic wastewater, rainwater and industrial effluent | 0 | m3/year | Annual m3 of rainwater entering combined sewers + annual m3 of domestic wastewater discharged to sewer + annual m3 of industrial effluent
| Annual volume of leaked drinking water | 0 | m3/year | Litres of potable water produced per person per day, converted from litres into m3 x number of people per household x number of days per year x number of households in the catchment serviced x % of leaked water.
| Annual production of potable water | 0 | m3/year | Litres of potable water produced per person per day, converted from litres into m3 x number of people per household x number of days per year x number of households in the catchment serviced.
Energy Intensity
| Parameter | Value | Units | Explanation
| Energy intensity for abstracting ground-water | 0.004 | kWh/m3/m
| Energy intensity for pumping raw and potable water | 0.354 | kWh/m3 | % of energy used in pumping x energy intensity for pumping and treating raw water
| Energy intensity for treating drinking water | 0.236 | kWh/m3 | % of energy used in treating raw water x energy intensity for pumping and treating raw water
| Energy intensity for pumping wastewater | 0.126 | kWh/m3
| Energy intensity for treating wastewater (mean) | 0.504 | kWh/m3
| Energy intensity for COD removal | 1169.1667 | kWh/TonneCOD | The COD treatment energy demand value in the 'Country specific data' tab (cell D12), is converted from Kwh/kgCOD to Kwh/TonneCOD
| Energy intensity Standard Error (SE) for treating wastewater | 0.03 | kWh/TonneCOD
| Energy intensity for treating wastewater (+ SE) | 0.534 | kWh/TonneCOD | The mean value for the energy demand of wastewater treatment + the associated Standard Error
| Energy intensity for treating wastewater (- SE) | 0.474 | kWh/TonneCOD | The mean value for the energy demand of wastewater treatment - the associated Standard Error
Annual Energy Consumed
| Parameter | Value | Units | Explanation
| Abstraction of leaked groundwater | 0 | GWh/yr | % of ground water sourced x annual volume of leaked drinking water x average depth from which groundwater is abstracted x energy intensity for abstracting groundwater per m3/m x performance factor for pumping raw water. The result has been converted from Kwh/yr into Gwh/yr
| Pumping of leaked drinking water | 0 | GWh/yr | Annual volume of leaked drinking water x energy intensity for pumping raw and potable water x performance factor for pumping raw water. The result has been converted from Kwh/yr into Gwh/yr.
| Treatment of leaked drinking water | 0 | GWh/yr | Annual volume of leaked drinking water x energy intensity for treating drinking water x performance factor for treating drinking water. The result has been converted from Kwh/yr into Gwh/yr.
| Abstraction of groundwater supplied (i.e. not including leakage) | 0 | GWh/yr | % of groundwater sourced x (annual volume of potable water produced - annual volume of leaked potable water) x average depth of groundwater abstraction x energy intensity for groundwater abstraction kwh/m3/m x performance factor for pumping raw water. The result has been converted from Kwh/yr into Gwh/yr.
| Pumping of potable water supplied (i.e. not including leakage) | 0 | GWh/yr | (annual volume of potable water produced - annual volume of leaked potable water) x energy intensity for pumping raw or drinking water x performance factor for pumping raw or drinking water. The result has been converted from Kwh/yr into Gwh/yr.
| Treatment of potable water supplied (i.e. not including leakage) | 0 | GWh/yr | (annual volume of potable water produced - annual volume of leaked potable water) x energy intensity for treating raw water x performance factor for treating raw water. The result has been converted from Kwh/yr into Gwh/yr.
| Pumping of rainwater received by combined sewers | 0 | GWh/yr | Annual rainwater received by combined sewers x energy intensity for pumping and treating raw water x % of energy used in pumping raw water and drinking water. The result has been converted from Kwh/yr into Gwh/yr.
| Pumping of domestic wastewater | 0 | GWh/yr | Annual volume of domestic waste water discharged to sewer x energy intensity for pumping wastewater x performance factor for pumping wastewater. The result has been converted from Kwh/yr into Gwh/yr.
| Treatment of domestic wastewater (mean) | 0 | GWh/yr | Annual volume of domestic waste water discharged to sewer x energy intensity for treating wastewater (mean) x performance factor for treating wastewater. The result has been converted from Kwh/yr into Gwh/yr.
| Treatment of domestic wastewater (+ SE) | 0 | GWh/yr | Annual volume of domestic waste water discharged to sewer x energy intensity for treating wastewater (mean + the Standard Error) x performance factor for treating wastewater. The result has been converted from Kwh/yr into Gwh/yr.
| Treatment of domestic wastewater (- SE) | 0 | GWh/yr | Annual volume of domestic waste water discharged to sewer x energy intensity for treating wastewater (mean - the Standard Error) x performance factor for treating wastewater. The result has been converted from Kwh/yr into Gwh/yr.
| Punping of domestic wastewater including rainwater | 0 | GWh/yr | Annual volume of domestic waste water discharged to sewer + annual rainwater received by combined sewers x energy intensity for pumping wastewater x performance factor for pumping wastewater. The result has been converted from Kwh/yr into Gwh/yr.
| Treatment of domestic wastewater including rainwater (mean) | 0 | GWh/yr | Annual volume of domestic waste water discharged to sewer + annual rainwater received by combined sewers x energy intensity for treating wastewater (mean) x performance factor for treating wastewater. The result has been converted from Kwh/yr into Gwh/yr.
| Treatment of domestic wastewater including rainwater (+ SE) | 0 | GWh/yr | Annual volume of domestic waste water discharged to sewer + annual rainwater received by combined sewers x energy intensity for treating wastewater (mean + the Standard Error) x performance factor for treating wastewater. The result has been converted from Kwh/yr into Gwh/yr.
| Treatment of domestic wastewater including rainwater (- SE) | 0 | GWh/yr | Annual volume of domestic waste water discharged to sewer + annual rainwater received by combined sewers x energy intensity for treating wastewater (mean - the Standard Error) x performance factor for treating wastewater. The result has been converted from Kwh/yr into Gwh/yr.
| Treatment of industrial wastewater (mean) | 0 | GWh/yr | Annual volume of industrial effluent x energy intensity for treating wastewater (mean) x performance factor for treating wastewater. The result has been converted from Kwh/yr into Gwh/yr.
| Treatment of industrial wastewater (+ SE) | 0 | GWh/yr | Annual volume of industrial effluent x energy intensity for treating wastewater (mean + the Standard Error) x performance factor for treating wastewater. The result has been converted from Kwh/yr into Gwh/yr.
| Treatment of industrial wastewater (- SE) | 0 | GWh/yr | Annual volume of industrial effluent x energy intensity for treating wastewater (mean - the Standard Error) x performance factor for treating wastewater. The result has been converted from Kwh/yr into Gwh/yr.
| Pumping of water over the full cycle excluding leakage and rainwater | 0 | GWh/yr | This is a sum of cells D72, D73 and D76 (above)
| Pumping of water over the full cycle excluding leakage but including rainwater | 0 | GWh/yr | This is a sum of cells D72, D73 and D80 (above)
Energy Use
| Parameter | Value | Units | Explanation
| Abstraction, treatment and pumping of potable water lost through leakage | 0 | GWh/yr | This is the sum of Cells D69, D70 and D71 (above)
| Abstraction, treatment and pumping of potable water minus leakage | 0 | GWh/yr | This is the sum of Cells D72, D73 and D74 (above)
| Treatment of drinking water and wastewater minus leakage (mean WW values) | 0 | GWh/yr | This is the sum of Cells D74 and D81 (above)
| Treatment of drinking water and wastewater minus leakage (+ SE for WW values) | 0 | GWh/yr | This is the sum of Cells D74 and D82 (above)
| Treatment of drinking water and wastewater minus leakage (- SE for WW values) | 0 | GWh/yr | This is the sum of Cells D74 and D83 (above)
Domestic Hot Water (DHW)
| Parameter | Value | Units | Explanation
| Temperature of water entering the house | 12 | C
| Temperature of hot water leaving the tap | 52 | C
| Energy required to heat 1m3 for the temp range | 46.5111 | kWh/m3 | The amount of energy required to heat 1 Kg of water by 1 degree C in Joules (the heat constant) is converted to the energy required to heat 1m3 by 1 degree C and this is then applied to the temperature range (the tempertature of the domestic hot water leaving the tap - the temperature of the water entering the house). This is then converted from Joules to Kwh.
| Mean Domestic Hot Water (DHW) consumption | 122 | l/d/hh
| Heating DHW (daily) | 5.6744 | kWh/d/hh | Daily Mean Domestic Hot Water consumption in litres per household, converted in m3 and then x the energy required to heat 1 m3 for the temperature range (the tempertature of the domestic hot water leaving the tap - the temperature of the water entering the house).
| Heating DHW (yearly) | 0 | GWh/yr | The daily amount of energy required to heat Domestic Hot Water (cell D100) x 365 days x number of households serviced / performance factor for heating Domestic Hot Water. The result has been converted from Kwh/yr into Gwh/yr.
Chemical Oxygen Demand (COD)
| Parameter | Value | Units | Explanation
| Total annual residential COD production | 0 | TonneCOD/year | Average daily domestic COD production (g) per person x number of households x number of inhabitants per household, converted into Tonnes x 365 to give a result in Tonnes of COD per year.
| Total annual industrial COD production | 0 | TonneCOD/year | Average daily industrial COD produced in Kg, converted into Tonnes x 365 days to provide an annual figure
| Total Annual COD production (residential and industrial) | 0 | TonneCOD/year | Total annual residential COD production + total annual industrial COD production
| Average COD of domestic wastewater | 0 | mg/l | Total domestic COD production in TonnesCOD/yr (converted into mgCOD/yr) / total volume of domestic wastewater, including rainwater received by combined sewers, converted into litres
| Average COD of industrial effluent | 0 | mg/l | Total industrial COD production in TonnesCOD/yr (converted into mgCOD/yr) / total volume of industrial effluent, converted into litres
| Average COD of domestic wastewater and industrial effluent | 0 | mg/l | Total domestic COD production in TonnesCOD/yr and total volume of industrial COD (converted into mgCOD/yr) / total volume of domestic wastewater, including rainwater received by combined sewers, and total volume of industrial effluent, converted into litres
| COD removal from domestic wastewater to meet discharge consent | 0 | GWh/yr | Average mgCOD/l of domestic wastewater - mgCOD/l permitted by discharge consent x total volume of domestic wastewater and rainfall received by combined sewers (m3 converted into litres) x Kwh/KGelimanatedCOD (converted into GWh)
| COD removal from industrial effluent to meet discharge consent | 0 | GWh/yr | Average mgCOD/l of industrial effluent - mgCOD/l permitted by discharge consent x total volume of industrial effluent (m3 converted into litres) x Kwh/KGelimanatedCOD (converted into GWh)
| COD removal from both domestic and industrial effluent to meet discharge consent | 0 | GWh/yr | Average mgCOD/l of combined domestic wastewater, including rainwater, and industrial effluent - mgCOD/l permitted by discharge consent x total volume of domestic wastewater, rainfall received by combined sewers and industrial effluent (m3 converted into litres) x Kwh/KGelimanatedCOD (converted into GWh)
| Reduced energy demands as a result of dilution of COD (if any) | 0 | GWh/yr | Where dilution of domestic effluent occurs, due to low levels of COD in industrial effluent, then the average COD of the combined wastewater is reduced and so is the energy demands for compliance with the discharge consent COD requirements. This calculation takes the combined energy demands of domestic COD removal and industrial COD removal and deducts from the sum of those two figures the energy demands of COD removal for the combined effluent.

## Country-Specific Data (hidden)
OK
Sheet Explanation
This sheet provides country specific background parameters
Output:
|  | Parameter: | COD | WWTP for EU | 0 | 0 | WWTP for EU | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Cut: | 0 | mean | Standard error derived from regression analysis | COD Elimination (if known) | mean | Standard error derived from regression analysis | Pump WW within sewer | Total WW Pumping & Treatment (columns I + K) | 0 | Pumping, distributing and treating drinking water (if known) | 0 | pumping and distributing raw water | Treating drinking water | 0 | Pumping, distributing and treating drinking water (columns O + P)
|  | Unit: | kWh/kg | kWh/m3 | kWh/m3 | kWh/kgeliminatedCOD | kWh/m3 | kWh/m3 | kWh/m3 | kWh/m3 |  | kWh/m3 |  | kWh/m3 | kWh/m3 |  | kWh/m3
8 | UK | 0 | 1.1692 | 0.504 | 0.03 | 0 | 0.504 | 0.03 | 0.126 | 0.63 | 0 | 0.59 | 0 | 0.354 | 0.236 | 0 | 0.59
|  |  | 18 | [10 empty] | 60% | 40%
| 10 | Parameter: | COD | WWTP for EU |  |  | WWTP for EU
| l_Countries, a_Countries | Cut: |  | mean | Standard error derived from regression analysis | COD Elimination (if known) | mean | Standard error derived from regression analysis | Pump WW within sewer | Total WW Pumping & Treatment (columns I + K) |  | Pumping, distributing and treating drinking water (if known) |  | pumping and distributing raw water | Treating drinking water |  | Pumping, distributing and treating drinking water (columns O + P)
| Select a Country | Unit: | kWh/kg | kWh/m3 | kWh/m3 | kWh/kgeliminatedCOD | kWh/m3 | kWh/m3 | kWh/m3 | kWh/m3 |  | kWh/m3 |  | kWh/m3 | kWh/m3 |  | kWh/m3
| Average |  | 1.1692 | 0.42257 |  | 1.1692 | 0.42257 |  | 0.10564 | 0.52822 |  | 0.5 |  | 0.3 | 0.2 |  | 0.5
| Austria |  | 0.736 | 0.3378 | 0.048 | 0.736 | 0.3378 | 0.048 | 0.08445 | 0.42225 |  |  |  | 0.3 | 0.2 |  | 0.5
| Belgium |  | 1.674 | 0.2708 | 0.009 | 1.674 | 0.2708 | 0.009 | 0.0677 | 0.3385 |  | 0.41 |  | 0.246 | 0.164 |  | 0.41
| Germany |  | 0.942 | 0.282 | 0.273 | 0.942 | 0.282 | 0.273 | 0.0705 | 0.3525 |  |  |  | 0.3 | 0.2 |  | 0.5
| Denmark |  | 1.058 | 0.522 | 0.074 | 1.058 | 0.522 | 0.074 | 0.1305 | 0.6525 |  |  |  | 0.3 | 0.2 |  | 0.5
| France |  | 1.1692 | 0.743 | 0.036 |  | 0.743 | 0.036 | 0.18575 | 0.92875 |  |  |  | 0.3 | 0.2 |  | 0.5
| Luxemburg |  | 1.86 | 0.357 | 0.033 | 1.86 | 0.357 | 0.033 | 0.08925 | 0.44625 |  |  |  | 0.3 | 0.2 |  | 0.5
| The Netherlands |  | 0.745 | 0.364 | 0.021 | 0.745 | 0.364 | 0.021 | 0.091 | 0.455 |  | 0.5 |  | 0.3 | 0.2 |  | 0.5
| UK |  | 1.1692 | 0.504 | 0.03 |  | 0.504 | 0.03 | 0.126 | 0.63 |  | 0.59 |  | 0.354 | 0.236 |  | 0.59

## Background Data (hidden)
OK
Sheet Explanation
This sheet collates other background data found in the original model
It is assumed that the user should not be able to change these values
| Parameter | Value | Units
| Conversion factor for Natural Gas | 0.184 | kgCO2e/kWh
| Conversion factor for electricity | 0.52462 | kgCO2e/kWh
| Days per year | 365 | Days
| Energy intensity for pumping ground-water | 0.004 | kWh/m3/m
| Energy intensity for pumping and distributing raw water | 0.35 | kWh/m3
| Energy intensity for treating drinking water | 0.24 | kWh/m3
| Energy intensity for pumping wastewater | 0.13 | kWh/m3
| Heat constant, Cp | 4186 | J/kg.C
Front Sheet Row Number | Explanation of default values used in the 'Front Sheet' | Value | Units
| Typical % of potable water leaked from the supply system prior to delivery | 33.33% | %
| Volume of potable water produced (including all leakage), based on the figure of 150l/p/d for UK from UN Development Programme, Human Development Report 2006 and 33.33% proportional leakage. | 225 | Litres per person per day
| Number of inhabitants per household (Value taken from EU and National Statistics) | 2.3 | People
| Proportion of water not returned to sewer (usually between 5-10% in the UK) | 7.5% | %
| The UK volume of DHW used per household (NOT per person) per day (Source: Energy Savings Trust Study 2007). | 122 | Litres per day
| Average daily domestic COD production per person. This value is taken from the INNERS 2014 'Potential for energy optimisation on WWTP in NWE (Benchmark report) | 120 | grammes

## Key, Version Control and Errors (hidden)
OK
Colour Scheme Key
|  |  | Workbook Tabs |  |  | Cell Styles |  | Explanation
|  |  | Tab Index Sheet > |  |  |  |  | Can be used to hide/unhide named groups of tabs
|  |  | Underlying Data |  |  | Background_Data |  | Holds underlying data entered by the programmer
|  |  | Data Entry / Scenario |  |  | Input |  | Holds data entered by the user
[6 empty] | DropMenu |  | Holds user-selected data from drop-down menu
[6 empty] | Linked Cell |  | Lifts data from other cells without any calculation beyond a lookup
|  |  | Calculation |  |  | Calculation |  | Holds the calculations
[6 empty] | Note |  | Use for notes about calculations
|  |  | Results |  |  | Output |  | Hold the various results information
|  |  | Information |  |  | Explanatory Text |  | Explanatory Information
|  |  | Background |  |  | Background |  | Holds background information
[6 empty] | Check Cell |  | Reports that no errors have been found
[6 empty] | Warning Text |  | Reports that errors have been found
| Key, Version Control and Errors |  |  | Author | Approver
Version Control
|  | # | Date |  |  | Description of Changes
2015-06-02 04:27
|  | V3 | 2015-05-27 19:12 | RJP | RJP
2015-05-27 19:11
|  | 3 | 2015-04-10 07:25 | RP | EP | Password provided
|  | 2 | 2015-04-09 22:31 | RP | EP | Final QC Check
2015-04-09 22:21
|  | 1 | 2015-04-09 22:20 | RP | EP | Quality Control
|  | High-Level Error Checking | [6 empty] | OK | n_ErrorChecking
|  |  | Names of sheets being checked |  |  | Names of sheets being checked |  | Names of sheets being checked |  | Names of sheets being checked
|  | OK | Title Page |  | OK | Front Sheet | OK | Calculations | OK | Key, Version Control and Errors
|  | OK | User Instructions |  | OK | Results Summary | OK | Background Data | OK
|  | OK |  |  | OK |  | OK |  | OK
|  | OK |  |  | OK |  | OK |  | OK
|  | OK |  |  | OK |  | OK |  | OK
|  | OK |  |  | OK |  | OK |  | OK

## Admin (hidden)
OK
This sheet can be hidden but do not delete. It holds some named ranges that are used by the workbook
Key
l_ | list | 8R4df0rd |  |  | 4 | E
n_ | name |  |  |  | 1 | E13:E15
f_ | user-defined FUNCTION | Title Page |  | Choose List: | l_YesNo
a_ | array |  |  | How List Appears: | Yes or No?
u_ | default units | Cancel
Lists
|  |  |  | 3 | 3 | 4 | 3
| l_Veracity | l_OKErr | l_Cols | l_YesNo | l_EnConBasis | l_TreatEnergy | l_VeryHideSheets
| TRUE | OK | A | Yes or No? | COD or m3? | WWT Energy? | Admin Instructions
| FALSE | Err | B | Yes | COD | Mean WW treatment energy | Units
|  |  | C | No | m3/h | + SE for WW treatment energy | Admin
|  |  | D |  |  | - SE for WW treatment energy
E
F
G
H
I
J
K
L
M
N
O
P
Q
R
S
T
U
V
W
X
Y
Z
AA
AB
AC
AD
AE
AF
AG
AH
AI
AJ
AK
AL
AM
AN
AO
AP
AQ
AR
AS
AT
AU
AV
AW
AX
AY
AZ
BA
BB
BC
BD
BE
BF
BG
BH
BI
BJ
BK
BL
BM
BN
BO
BP
BQ
BR
BS
BT
BU
BV
BW
BX
BY
BZ
CA
CB
CC
CD
CE
CF
CG
CH
CI
CJ
CK
CL
CM
CN
CO
CP
CQ
CR
CS
CT
CU
CV
CW
CX
CY
CZ
DA
DB
DC
DD
DE
DF
DG
DH
DI
DJ
DK
DL
DM
DN
DO
DP
DQ
DR
DS
DT
DU
DV
DW
DX
DY
DZ
EA
EB
EC
ED
EE
EF
EG
EH
EI
EJ
EK
EL
EM
EN
EO
EP
EQ
ER
ES
ET
EU
EV
EW
EX
EY
EZ
FA
FB
FC
FD
FE
FF
FG
FH
FI
FJ
FK
FL
FM
FN
FO
FP
FQ
FR
FS
FT
FU
FV
FW
FX
FY
FZ
GA
GB
GC
GD
GE
GF
GG
GH
GI
GJ
GK
GL
GM
GN
GO
GP
GQ
GR
GS
GT
GU
GV
GW
GX
GY
GZ
HA
HB
HC
HD
HE
HF
HG
HH
HI
HJ
HK
HL
HM
HN
HO
HP
HQ
HR
HS
HT
HU
HV
HW
HX
HY
HZ
IA
IB
IC
ID
IE
IF
IG
IH
II
IJ
IK
IL
IM
IN
IO
IP
IQ
IR
IS
IT
IU
IV

## Units (hidden)
OK
This sheet provides conversion tables to move between units
| Sheet Name: | Units
This table summarises the data entered in rows 30 and beyond, so DO NOT EDIT THE TABLE!!!
Alternative Reporting Units
|  | 9 |  |  |  | Chosen Unit |  | List of Units |  |  | Array of Units |  |  |  | a_ReptUnitsEnergy | 7 |  | a_ReptUnitsCarbon | 4
AF | Index | l_Dimension | dim | l_Unit | Count | Range | Address | Range | l_UnitListAddresses |  | a_UnitsNames | l_UnitArrayAddresses |  |  | Energy | Factor |  | Carbon | Factor
TRUE | 1 | Weight | w | t | 7 | u_Weight | 'Units'!D31 | l_Weight | 'Units'!C34:C40 |  | a_Weight | 'Units'!C34:E40 |  |  | kWh/yr | 1000000 |  | kg CO2e/yr | 1000
TRUE | 2 | Distance | d | mile | 5 | u_Distance | 'Units'!H31 | l_Distance | 'Units'!G34:G38 |  | a_Distance | 'Units'!G34:I38 |  |  | MWh/yr | 1000 |  | t CO2e/yr | 1
TRUE | 3 | Volume | v | l | 5 | u_Volume | 'Units'!L31 | l_Volume | 'Units'!K34:K38 |  | a_Volume | 'Units'!K34:M38 |  |  | GWh/yr | 1 |  | kt CO2e/yr | 0.001
TRUE | 4 | Energy | e | MJ | 10 | u_Energy | 'Units'!P31 | l_Energy | 'Units'!O34:O43 |  | a_Energy | 'Units'!O34:Q43 |  |  | TWh/yr | 0.001 |  | Mt CO2e /yr | 1e-06
TRUE | 5 | Freight | f | te.km | 5 | u_Freight | 'Units'!T31 | l_Freight | 'Units'!S34:S38 |  | a_Freight | 'Units'!S34:U38 |  |  | MJ/yr | 3600000
TRUE | 6 | Time | t | yr | 7 | u_Time | 'Units'!X31 | l_Time | 'Units'!W34:W40 |  | a_Time | 'Units'!W34:Y40 |  |  | GJ/yr | 3600
TRUE | 7 | Area | a | m^2 | 7 | u_Area | 'Units'!AB31 | l_Area | 'Units'!AA34:AA40 |  | a_Area | 'Units'!AA34:AC40 |  |  | TJ/yr | 3.6
TRUE | 8 | Speed | s | kph | 3 | u_Speed | 'Units'!AF31 | l_Speed | 'Units'!AE34:AE36 |  | a_Speed | 'Units'!AE34:AG36
TRUE | 9 | Count | c | none | 5 | u_Count | 'Units'!AJ31 | l_Count | 'Units'!AI34:AI38 |  | a_Count | 'Units'!AI34:AK38
FALSE | 10 | 0 | 0 | 0 | 0
FALSE | 11 | 0 | 0 | 0 | 0
FALSE | 12 | 0 | 0 | 0 | 0
FALSE | 13 | 0 | 0 | 0 | 0
FALSE | 14 | 0 | 0 | 0 | 0
FALSE | 15 | 0 | 0 | 0 | 0
FALSE | 16 | 0 | 0 | 0 | 0
FALSE | 17 | 0 | 0 | 0 | 0
FALSE | 18 | 0 | 0 | 0 | 0
FALSE | 19 | 0 | 0 | 0 | 0
FALSE | 20 | 0 | 0 | 0 | 0
TRUE
TRUE | Enter in the tables below the possible units and their conversion factors
TRUE | 10 | Weight | 1 |  |  | Distance | 2 |  |  | Volume | 3 |  | Energy | 4 |  |  | Freight | 5 |  | Time | 6 |  | Area | 7 |  | Speed | 8 |  | Count | 9
TRUE | 31 | w | t | 7 |  | d | mile | 5 |  | v | l | 5 | e | MJ | 10 |  | f | te.km | 5 | t | yr | 7 | a | m^2 | 7 | s | kph | 3 | c | none | 5
TRUE
TRUE |  | Unit | kg | Factor |  | Unit | km | Factor |  | Unit | l | Factor | Unit | MJ | Factor |  | Unit | te.km | Factor | Unit | yr | Factor | Unit | m^2 | Factor | Unit | kph | Factor | Unit | none | Factor
TRUE |  | kg | 1 | 0.001 |  | km | 1 | 0.625 |  | l | 1 | 1 | MJ | 1 | 1 |  | te.km | 1 | 1 | yr | 1 | 1 | m^2 | 1 | 1 | kph | 1 | 1 | none | 1 | 1
TRUE |  | t | 1000 | 1 |  | m | 0.001 | 0.000625 |  | litre | 1 | 1 | kJ | 0.001 | 0.001 |  | kg.km | 0.001 | 0.001 | mo | 0.083333 | 0.083333 | yd^2 | 0.83613 | 0.83613 | k/s | 0.00027778 | 0.00027778 | unit | 1 | 1
TRUE |  | kt | 1000000 | 1000 |  | mile | 1.6 | 1 |  | ml | 0.001 | 0.001 | J | 1e-06 | 1e-06 |  | te.m | 0.001 | 0.001 | wk | 0.019165 | 0.019165 | ft^2 | 0.092903 | 0.092903 | m/s | 0.27778 | 0.27778 | pair | 2 | 2
TRUE |  | Mt | 1000000000 | 1000000 |  | cm | 1e-05 | 6.25e-06 |  | Mega-l | 1000 | 1000 | GJ | 1000 | 1000 |  | kg.m | 1e-06 | 1e-06 | d | 0.0027379 | 0.0027379 | acre | 4046.8564 | 4046.8564 |  |  |  | dozen | 12 | 12
TRUE |  | g | 0.001 | 1e-06 |  | mm | 1e-06 | 6.25e-07 |  | m^3 | 1000 | 1000 | TJ | 1000000 | 1000000 |  | kte.km | 1000 | 1000 | hr | 0.00011408 | 0.00011408 | Ha | 10000 | 10000 |  |  |  | score | 20 | 20
TRUE |  | lb | 2.2 | 0.0022 | [8 empty] | kWh | 3.6 | 3.6 |  |  |  |  | min | 1.9013e-06 | 1.9013e-06 | km^2 | 1000000 | 1000000
TRUE |  | mg | 1e-06 | 1e-09 | [8 empty] | MWh | 3600 | 3600 |  |  |  |  | sec | 3.1688e-08 | 3.1688e-08 | sq.mile | 2589988.1103 | 2589988.1103
TRUE | [12 empty] | Btu | 0.00094781 | 0.00094781
TRUE | [12 empty] | GWh | 3600000 | 3600000
TRUE | [12 empty] | TWh | 3600000000 | 3600000000
TRUE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
Note on D31: Ricardo-AEA: For each Dimension, this cell designates the chosen default unit for the workbook